## Sheet1
Salvation Army Holywood
All TMVs on site
RP: | Y. Cheung | C. Jeffrey
Calibrated EQ.: | Testo 925 | L. Pillar
Anton APM200
Thermapen 3
Date |  | Building | Location | Type | Temp. Celcius | Comments | Recorded by previous contractor | Recorded/Inspected/Serviced
2020-09-24 |  | Main | Kitchen WC | Sirrus | 42 | TMV Fail, isolation valves faulty
2020-09-24 |  | Main | Office | Sirrus | 42 | TMV Fail
2020-09-24 |  | Main | Bedroom 1 | Sirrus | 43 | TMV Fail, isolation valves faulty
2020-09-24 |  | Main | Bedroom 1 | Ultra Shower | 41
2020-09-24 |  | Main | Bedroom 2 | Sirrus | 43 | TMV Fail
2020-09-24 |  | Main | Bedroom 2 | Bristan Shower | 40
2020-09-24 |  | Main | Bedroom 3 | Sirrus | 40 | TMV Fail
2020-09-24 |  | Main | Bedroom 3 | Bristan Shower | 39
2020-09-24 |  | Main | Bedroom 4 | Sirrus | 41 | TMV Fail, isolation valves faulty
2020-09-24 |  | Main | Bedroom 4 | Sirrus Shower | 43
2020-09-24 |  | Main | Bathroom 1 | Sirrus | 41 | TMV Fail
2020-09-24 |  | Main | Bathroom 1 | Sirrus | 44 | TMV Fail
2020-09-24 |  | Main | Bedroom 5 | Sirrus | 41 | TMV Fail
2020-09-24 |  | Main | Bedroom 5 | Bristan | 49
2020-09-24 |  | Main | Bedroom 6 | Sirrus | 42 | TMV Fail
2020-09-24 |  | Main | Bedroom 6 | Sirrus | 42
2020-09-24 |  | Main | Bedroom 7 | Sirrus | 42 | Isolation valves faulty
2020-09-24 |  | Main | Bedroom 7 | Bristan Shower | 41
2020-09-24 |  | Main | Bedroom 8 | Sirrus | 37 | TMV Fail
2020-09-24 |  | Main | Bedroom 8 | Bristan Shower | 42
2020-09-24 |  | Main | Disabled WC | Sirrus | 43 | TMV Fail
2020-09-24 |  | Main | Bedroom 9 | Sirrus | 42 | Isolation valves faulty
2020-09-24 |  | Main | Bedroom 9 | Sirrus Shower | 44
2020-09-24 |  | Main | Bedroom 10 | Sirrus | 41 | TMV Fail
2020-09-24 |  | Main | Bedroom 10 | Bristan Shower | 45
2020-09-24 |  | Main | Bedroom 11 | Sirrus | 40 | Isolation valves faulty
2020-09-24 |  | Main | Bedroom 11 | Ultra Shower | 47
2020-09-24 |  | Main | Bedroom 12 | Sirrus | 40 | TMV Fail
2020-09-24 |  | Main | Bedroom 12 | Sirrus Shower | 43
2020-09-24 |  | Main | Bathroom 2 | Sirrus | 43 | TMV Fail, isolation valves faulty
2020-09-24 |  | Main | Bathroom2 | Saracen | 43
2020-09-24 |  | Main | Kitchenette |  |  | No access to isolation
2020-09-24 |  | Main | Bedroom 13 | Sirrus | 41
2020-09-24 |  | Main | Bedroom 13 | Sirrus Shower | 41
2020-09-24 |  | Main | Bedroom 14 | Sirrus | 40 | TMV Fail
2020-09-24 |  | Main | Bedroom 14 | ultra Shower | 37
2020-09-24 |  | Main | Bedroom 15 | TMV | 41 | TMV Fail
2020-09-24 |  | Main | Bedroom 15 | Bristan Shower | 42
2020-09-24 |  | Main | Bedroom 16 | Sirrus | 40
2020-09-24 |  | Main | Bedroom 16 | Ultra Shower | 40
2020-09-25 |  | Main | Bedroom 17 | Sirrus | . | No running water
2020-09-25 |  | Main | Bedroom 17 | Ultra Shower | . | No running water
2020-09-25 |  | Main | Bedroom 18 | Sirrus | 42 | TMV Fail
2020-09-25 |  | Main | Bedroom 18 | Bristan Shower | 44
2020-09-25 |  | Main | Bedroom 19 | Sirrus | 39 | TMV Fail
2020-09-25 |  | Main | Bedroom 19 | Ultra Shower | 42
2020-09-25 |  | Main | Bedroom 20 | Saracen | 40 | Isolation valves faulty
2020-09-25 |  | Main | Bedroom 20 | Ultra Shower | 42
2020-09-25 |  | Main | Kitchenette | Sirrus | 37 | TMV Fail
2020-09-25 |  | Main | Assissted Bathroom | Sirrus | 44 | TMV Fail
2020-09-25 |  | Main | Assissted Bathroom | Sirrus Shower | 40 | Not in use, valve head broken |  | 59
2020-09-25 |  | Main | Hairdressing | Ausimix | 44 | TMV Fail
2020-09-25 |  | Main | Hairdressing | Saracen | 44 | TMV Fail
2020-09-25 |  | Main | Bedroom 21 | Sirrus | 37 | TMV Fail
2020-09-25 |  | Main | Bedroom 21 | Ultra Shower | 42
2020-09-25 |  | Main | Bedroom 22 | Sirrus | 42 | TMV Fail
2020-09-25 |  | Main | Bedroom 22 | Ultra Shower | 38
2020-09-25 |  | Main | Bedroom 23 | Bristan | 39 | TMV Fail
2020-09-25 |  | Main | Bedroom 23 | Ultra Shower | 42
2020-09-25 |  | Main | Bedroom 24 | Sirrus | 40
2020-09-25 |  | Main | Bedroom 24 | Ultra Shower | 37
2020-09-25 |  | Main | Disabled WC | Sirrus | 40 | TMV Fail, isolation valves faulty
2020-09-25 |  | Main | Disabled WC | TMV Tap | 41 | Isolation valves faulty
2020-09-25 |  | Main | Bedroom 25 | Sirrus | 40 | TMV Fail
2020-09-25 |  | Main | Bedroom 25 | Ultra Shower | 44
2020-09-25 |  | Main | Bedroom 26 | Sirrus | 43 | TMV Fail
2020-09-25 |  | Main | Bedroom 26 | Ultra Shower | 41
2020-09-25 |  | Main | Bedroom 27 | Sirrus | . | TMV Fail, TMV Faulty, fluctuating temps
2020-09-25 |  | Main | Bedroom 27 | Ultra Shower | 40
2020-09-25 |  | Main | Bedroom 28 | Sirrus | 39
2020-09-25 |  | Main | Bedroom 28 | Ultra Shower | 40
2020-09-25 |  | Main | Kitchenette | Sirrus | 43 | Isolation valves faulty
2020-09-25 |  | Main | Assissted Bathroom | Sirrus | 38
2020-09-25 |  | Main | Assissted Bathroom | Sirrus | 39
2020-09-25 |  | Main | Assissted Bathroom | Sirrus Shower | 43 | Not in use
2020-09-25 |  | Main | Bedroom 29 | Sirrus | 41
2020-09-25 |  | Main | Bedroom 29 | Ultra Shower | 44
2020-09-25 |  | Main | Bedroom 30 | Sirrus | 44 | TMV Fail
2020-09-25 |  | Main | Bedroom 30 | Ultra Shower | 40
2020-09-25 |  | Main | Bedroom 31 | Sirrus | 40 | TMV Fail
2020-09-25 |  | Main | Bedroom 31 | Ultra Shower | 42
2020-09-25 |  | Main | Bedroom 32 | Sirrus | 40 | TMV Fail
2020-09-25 |  | Main | Bedroom 32 | Ultra Shower | 40